## LEL
RELACION DE SENSORES LEL (VIGENCIA 2 AÑOS)
Barcode | Serial | SensorSerial | Description | Location | Shipping State | In Country | Fecha Ultima Calibracion | Dias a Vencer | Status | Asset Flags | Last Transaction Date | Certificados | Comentario
1302760 | GASM01140 | ARYH-0325 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-08-09 | 235 |  |  | 2020-09-14 17:03
1298037 | GASM00146 | ARYJ-0047 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-01-11 | 25 |  |  | 2020-09-14 17:03
1329257 | GASM01744 | ARYK-0396 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-06-21 | 186 |  |  | 2020-09-14 17:02
1302699 | GASM01419 | ARYH-0344 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-03-05 | 78 |  |  | 2020-09-14 17:02
1329256 | GASM01743 | ARYK-0116 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2020-02-10 | 420 |  |  | 2020-09-14 17:02 |  | Pendiente actualizar e RMS
1331468 | GASM02101 | ARDC-1169 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-02-04 | 49 |  |  | 2020-09-14 17:02
1330017 | GASM02172 | ARYK-0136 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-03-05 | 78 |  |  | 2020-09-14 17:01
1302765 | GASM01137 | ARYH-0287 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-07-20 | 215 |  |  | 2020-09-14 17:01
1325924 | GASM01257 | ARYH-0372 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2019-06-21 | 186 |  | Broken | 2020-06-18 13:31
1398600 | GASM00136 | ARYC-0025 | Hazardous Gas Alarm LEL Sensor Assembly | Petreven Peru H201 | Installed | In Country | 2019-01-18 | 32 |  |  | 2020-03-27 10:28
1302759 | GASM01149 | ARYH-0315 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2018-05-23 | -208 |  |  | 2020-09-14 17:02
1329205 | GASM01704 | ARYK-0208 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2017-11-18 | -394 |  |  | 2020-09-14 17:02
1325933 | GASM01201 | ARYK-0179 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2017-07-20 | -515 |  | Broken | 2020-06-18 13:32
1330487 | GASM02273 | ARYL-0162 | Hazardous Gas Alarm LEL Sensor Assembly | Peru - Talara | Received | In Country | 2017-07-20 | -515 |  | Broken | 2020-06-18 13:30
1330047 | GASM02180 | ARYJ-0369 | Hazardous Gas Alarm LEL Sensor Assembly | Petrex Peru 15 | Installed | In Country | 2017-05-16 | -580 |  |  | 2019-01-21 22:45
1398517 | GASM00035 | ARXF-0153 | Hazardous Gas Alarm LEL Sensor Assembly | August Electronics - Excess | Received | Out of Country | 2011-01-17 | -2891 |  | Broken | 2014-10-27 20:24
1
6
9
Formulas:
Status = IF(DAYS360([Fecha Ultima Calibracion],TODAY(),FALSE)>720,"VENCIDO","VIGENTE")

## H2S
RELACION DE SENSORES H2S (VIGENCIA 1 AÑO)
Barcode | Serial | SensorSerial | Description | Location | Shipping State | In Country | Ultima Calibracion | Dias a Vencer | Status | Asset Flags | Last Transaction Date | Certificado
1334617 | GASM02392 | ARCK-0357 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2020-01-13 | 27 |  |  | 2020-09-14 17:03 |  | Pendiente Actualizar en RMS | ****Se cambio fecha interna con fecha de calibracion el 22/03/20
1327831 | GASM01589 | ARYK-1036 | Hazardous Gas Alarm H2S Sensor Assembly | Petrex Peru 12 | Installed | In Country | 2020-01-13 | 27 |  |  | 2020-08-17 14:24
1302688 | GASM01385 | ARYJ-0908 | Hazardous Gas Alarm H2S Sensor Assembly | Petreven Peru H201 | Installed | In Country | 2020-01-13 | 27 |  |  | 2020-03-27 04:18
1327935 | GASM01829 | ARYK-0190 | Hazardous Gas Alarm H2S Sensor Assembly | Petrex Peru 12 | Installed | In Country | 2020-02-04 | 49 |  |  | 2020-08-17 14:24
1326418 | GASM01349 | ARYF-0419 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2014-11-13 | -1860 |  | Broken | 2020-06-18 13:32
1301239 | GASM00638 | ARYK-0881 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2015-11-13 | -1495 |  | Broken | 2020-06-18 13:31
1278988 | GASM01973 | ARYK-0538 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2017-07-10 | -890 |  | Broken | 2020-06-30 15:57 |  | Pendiente Actualizar en RMS
1329138 | GASM01980 | ARYK-0863 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2018-01-11 | -705 |  | Broken | 2020-06-18 13:24 |  | Pendiente Actualizar en RMS
1317359 | GASM02818 | ARJJ-0268 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2019-02-04 | -316 |  |  | 2020-09-14 17:04 |  | Pendiente Actualizar en RMS
1313883 | GASM02444 | ARDB-0410 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2019-02-04 | -316 |  |  | 2020-09-14 17:04
1327896 | GASM01628 | ARJK-0228 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2019-02-04 | -316 |  |  | 2020-09-14 17:04
1457704 | GASM02830 | ARDE-0705 | Hazardous Gas Alarm H2S Sensor Assembly | Petrex Peru 12 | Installed | In Country | 2019-03-05 | -287 |  |  | 2020-02-21 01:00
1327708 | GASM01484 | ARYK-0088 | Hazardous Gas Alarm H2S Sensor Assembly | Petrex Peru 12 | Installed | In Country | 2019-03-05 | -287 |  |  | 2020-02-21 01:00
1302723 |  | ARYJ-0452 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2019-03-15 | -277 |  |  | 2020-03-21 19:53 |  | Pendiente Actualizar en RMS
1329156 | GASM01982 | AKJK-0212 | Hazardous Gas Alarm H2S Sensor Assembly | SLR Peru SLR 138 | Installed | In Country | 2019-05-22 | -209 |  |  | 2020-03-02 21:49
1301390 | GASM00642 | ARJK-0218 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2019-06-21 | -179 |  |  | 2020-09-14 17:04
1327960 | GASM01636 | ARJJ-0286 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2019-07-20 | -150 |  |  | 2020-09-14 17:03
1331438 | GASM02142 | ARJK-0217 | Hazardous Gas Alarm H2S Sensor Assembly | Petrex Peru 12 | Installed | In Country | 2019-08-09 | -130 |  |  | 2020-02-21 01:00
1316504 | GASM02391 | ARCK-0299 | Hazardous Gas Alarm H2S Sensor Assembly | Peru - Talara | Received | In Country | 2019-11-22 | -25 |  |  | 2020-10-22 21:22
3
15
1
Formulas:
Status = IF(DAYS360([Ultima Calibracion],TODAY(),FALSE)>360,"VENCIDO","VIGENTE")